## Quail Hollow Golf Course
Caption: Quail Hollow Golf Course ADA assessment findings, recommendations for remediation, and associated costs.
ID | LOCATION | BUILT BEFORE ADA | VIOLATIONS | 2010 ADA CODE | RECOMMENDATIONS | ESTIMATED COST | QUICK FIX | PRIORITY SCORE
1430 | Banquet Room | Yes | The hand sanitizer dispenser is outside of the unobstructed forward reach range at 55" above the floor. The hand sanitizer dispenser protrudes 8" into the circulation space at 55" above the floor. | §307.2, §308.2.1 | Recess or replace the hand sanitizer dispenser so it protrudes a maximum of 4" or place a cane detectable object beneath it.Lower the hand sanitizer dispenser by 7" to meet the accessible reach range of 48" maximum above the floor. | 100 | Yes | 5
1436 | Banquet Room Men’s Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
1438 | Banquet Room Men’s Restroom | Yes | The paper towel dispenser is outside of the unobstructed forward reach range at 53" above the floor. The paper towel dispenser protrudes 7" into the circulation space at 53" above the floor. | §307.2, §308.2.1 | Recess the paper towel dispenser so it protrudes a maximum of 4" or place a cane detectable object beneath it.Lower the paper towel dispenser by 5" to meet the accessible reach range of &nbsp;48" maximum above the floor. | 100 | Yes | 5
1445 | Banquet Room Women’s Restroom | Yes | The paper towel dispenser protrudes 7" into the circulation space at 54" above the floor. The paper towel dispenser is outside of the unobstructed forward reach range at 54" above the floor. | §307.2, §308.2.1 | Lower the paper towel dispenser by 6" to meet the accessible reach range of 48" maximum above the floor.Recess the paper towel dispenser so it protrudes a maximum of 4" or place a cane detectable object beneath it. | 100 | Yes | 5
1465 | Clubhouse Men’s Restroom | Yes | The paper towel dispenser is outside of the unobstructed forward reach range at 50.5" above the floor. The paper towel dispenser protrudes 7" into the circulation space at 50.5" above the floor. | §307.2, §308.2.1 | Recess the paper towel dispenser so it protrudes a maximum of 4" or place a cane detectable object beneath it.Lower the paper towel dispenser by 2.5" to meet the accessible reach range of 48" maximum above the floor. | 100 | Yes | 5
1470 | Clubhouse Men’s Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
1454 | Clubhouse Pro Shop | Yes | There is not a clear 36" width for wheelchairs to pass between the merchandise. | §403.5.1 | Relocate some of the merchandise to different parts of the shop to allow for circulation paths that are a minimum of 36" wide. | 100 | Yes | 5
1455 | Clubhouse Women’s Restroom | Yes | The entrance into the Women's Restroom is 34" between the corner and cabinet. | §403.5.1 | Relocate the cabinet. | 100 | Yes | 5
1456 | Clubhouse Women’s Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
1461 | Clubhouse Women’s Restroom | Yes | The toilet paper dispenser is located out of the accessible reach range. | §604.7 | The outlet of the dispenser shall be 15” minimum and 48” maximum above the floor and shall not be located behind.Remount the toilet paper dispenser to &nbsp;7” minimum and 9” maximum in front of the water closet measured to the centerline of the dispenser. | 100 | Yes | 5
1428 | Outdoor Banquet Room | Yes | The hand sanitizer dispenser protrudes 8" into the circulation space at 61" above the floor.The hand sanitizer dispenser is outside of the unobstructed forward reach range at 61" above the floor. | §308.2.1, §307.2 | Lower the hand sanitizer dispenser by 13" to meet the accessible reach range of 48" maximum above the floor.Recess the hand sanitizer dispenser so it protrudes a maximum of 4" or place a cane detectable object beneath it. | 100 | Yes | 5
1422 | Exterior Downstairs Men’s Restroom | Yes | The pipes under the sink are not covered. | §606.5 | Wrap the pipes beneath the sink with soft protective wrap or plastic. | 100 | Yes | 7
1437 | Banquet Room Men’s Restroom | Yes | The clear floor space at the low urinal is 29" wide. | §305.2 | Relocate the table. | 100 | Yes | 8
1451 | Clubhouse Coffee Area | Yes | The coffee maker is outside of the unobstructed forward reach range at 50" above the floor. | §308.2.1 | Lower the coffee maker by 2" to meet the accessible reach range of 15" minimum and 48" maximum above the floor. | 100 | Yes | 8
1462 | Clubhouse Women’s Restroom | Yes | The paper towel dispenser is outside of the unobstructed forward reach range at 50.25" above the floor. | §308.2.1 | Lower the paper towel dispenser by 2.25" to meet the accessible reach range of 48" maximum above the floor. | 100 | Yes | 8
1463 | Clubhouse Women’s Restroom | Yes | The soap dispenser is outside of the unobstructed forward reach range at 49" above the floor. | §308.2.1 | Lower the soap dispenser by 1" to meet the accessible reach range of 48" maximum above the floor. | 100 | Yes | 8
1464 | Clubhouse Restrooms | Yes | There are no tactile signs identifying the permanent rooms. | §216.2, §703 | Signs shall be Braille with raised lettering and should be placed on the wall in the center of an 18"x18" clear floor space.Install tactile signage on the latch side of the doorway at a height of 48” minimum to 60” maximum above the floor, identifying room by name or room number. | 200 | Yes | 3
1431 | Banquet Room | Yes | There are no tactile signs identifying four permanent rooms. | §216.2, §703 | Signs shall be Braille with raised lettering and should be placed on the wall in the center of an 18"x18" clear floor space.Install tactile signage on the latch side of the doorway at a height of 48” minimum to 60” maximum above the floor, identifying room by name or room number. | 400 | Yes | 3
1452 | Clubhouse Golf Association Computer | Yes | The counter is 38.5" above the floor. | §904.4.1 | A portion of the service counter must be no higher than 36" above the floor for a horizontal distance of 36". | 500 | Yes | 4
1466 | Clubhouse Men’s Restroom | Yes | The rear grab bar is located 9" to the center of the toilet. | §604.5.2 | Remount the rear grab bar 12" from the centerline of the water closet minimum on one side and 24" minimum on the other. | 500 | Yes | 5
1457 | Clubhouse Women’s Restroom | Yes | The rear grab bar is located 10" to the center of the toilet. | §604.5.2 | Remount the rear grab bar 12" from the centerline of the water closet minimum on one side and 24" minimum on the other. | 500 | Yes | 5
3699 | Driving Range Parking | Yes | There are no marked accessible parking spaces near the driving range or golf carts. | §208.2 | Install a 60" wide access aisle connecting to an accessible route. Install a sign 60" above the ground.Install an accessible parking space that is a minimum of 96" wide. Ensure at least one accessible parking space is marked as "van" accessible. | 1000 | No | 3
3670 | Entrance Ramp | Yes | The ramp has a 3.6% cross slope. | §405.3 | Reconstruct the ramp to have a cross slope of 2% or less. | 1000 | No | 3
1446 | Banquet Room | Yes | The handrails 32" above the stair nosings. | §505.4 | Raise the handrails to a minimum height of 34" and a maximum of 38" above the stair nosings. Ensure that the handrails are at a consistent height along the stair treads. | 1000 | No | 5
1443 | Banquet Room Women’s Restroom | Yes | The centerline of the toilet is located 19" from the sidewall. | §604.2 | Reposition the centerline of the toilet to be within 16" minimum and 18" maximum from the sidewall. | 1000 | No | 5
3723 | Bottom Ramp | Yes | There are no handrail extensions for the ramp. | §505.10 | Extend the ramp handrails 12” horizontally beyond the top and bottom of ramp runs. | 1000 | No | 5
1469 | Clubhouse Men’s Restroom | Yes | The centerline of the toilet is located 22" from the sidewall. | §604.2 | Reposition the centerline of the toilet to be within 16" minimum and 18" maximum from the sidewall. | 1000 | No | 5
1450 | Clubhouse Outdoor Seating | Yes | The threshold at the doorway is 1.5" tall. | §404.2.5 | Reduce the metal lip on the door to no more than 0.5" to 0.75" if beveled on each side. | 1000 | No | 5
1460 | Clubhouse Women’s Restroom | Yes | The centerline of the toilet is located 21.5" from the sidewall. | §604.2 | Reposition the centerline of the toilet to be within 16" minimum and 18" maximum from the sidewall. | 1000 | No | 5
1429 | Outdoor Banquet Room | Yes | The thresholds at the five doorways are 1.25" tall. | §404.2.5 | Reduce the metal lips on the doors to no more than 0.5" to 0.75" if beveled on each side. | 1000 | No | 5
3548 | Top Ramp | Yes | There are no handrail extensions for the ramp. | §505.10 | Extend the ramp handrails 12” horizontally beyond the top and bottom of ramp runs. | 1000 | No | 5
3722 | Bottom Ramp | Yes | There is one handrail. | §505.2 | Install an additional handrail at a minimum height of 34” and maximum of 38” above the ground. Make sure there are adequate handrail extensions both at the top and bottom of the handrail. | 1000 | No | 6
1453 | Clubhouse | Yes | The spout heights of the drinking fountains are not compliant at 31" and 37" above the floor. | §602.7 | Raise the existing tall drinking fountain to a minimum spout height of 38" and maximum spout height of 43" above the floor. | 1000 | No | 6
3320 | Golf Cart Parking and Banquet Room Stairs | Yes | There is only one handrail. | §505.2 | Install an additional handrail at a minimum height of 34” and maximum of 38” above the ground. Make sure there are adequate handrail extensions both at the top and bottom of the handrail. | 1000 | No | 6
3077 | Putting Green | Yes | There is only one handrail. | §505.2 | Install an additional handrail at a minimum height of 34” and maximum of 38” above the ground. Make sure there are adequate handrail extensions both at the top and bottom of the handrail. | 1000 | No | 6
3547 | Top Ramp | Yes | There is only one handrail. | §505.2 | Install a second handrail at a minimum height of 34” and maximum of 38” above the ground. Make sure there are adequate handrail extensions both at the top and bottom of the handrail. | 1000 | No | 6
3278 | Parking | Yes | The painted lines for the accessible parking spaces are faded.The sign identifying the accessible parking space is located in the access aisle. | §502.6, §502 | Relocate and install an accessible parking sign at the accessible space at a minimum height of 60" above the ground in front of the accessible parking space.Restripe and repaint the accessible parking spaces, access aisles, and ISA symbols. | 1500 | No | 9
3277 | Parking | Yes | The parking space has a 4% slope.There are no marked "Van Accessible" spaces. | §208.2.4, §502.4 | Expand the existing accessible parking space to be a 132" wide van accessible parking space. Add a “van accessible” parking sign at a minimum height of 60" above the ground.Resurface the parking space to reduce the slope to a maximum of 2% in all directions. | 2000 | No | 3
1448 | Banquet Room | Yes | The handrail extensions are 6". | §505.10.2 | Install new handrails with extensions that extend at least 12" horizontally above the landing beginning directly above the first stair riser nosing. | 2000 | No | 5
1423 | Exterior Downstairs Men’s Restroom | Yes | The entrances to the restrooms have a slope greater than 2%.The running slope of the ramp is 12.6%. There are no handrails. | §405.2, §505.2, §404.2.4.4 | Install handrails at a minimum height of 34” and maximum of 38” above the ground. Make sure there are adequate handrail extensions both at the top and bottom of the handrail.Reconstruct the entryway to reduce the running slope to a maximum of 2% in all directions. Reconstruct the ramp to reduce the running slope to a maximum of 8.3%. | 4000 | No | 3
3276 | Parking | Yes | There is a total of 116 parking spaces and only one accessible parking space at the main entrance for the entire facility. | §208.2 | Install a 60" wide access aisle connecting to an accessible route. Install a sign 60" above the ground.Install accessible parking spaces that are a minimum of 96" wide so there are a minimum of four accessible car spaces and one accessible van space. | 4000 | No | 3
1417 | Banquet Room | Yes | There are no marked accessible parking spaces to access the banquet room.The only way to access the banquet room is by using one of two stairways, navigating a 5" step, or utilizing the vehicular travel lane with a 12.1% to 12.3% cross slope. | §208.2 | Ensure that the ramp slope does not exceed 8.3%, handrails are provided, and there is sufficient room for a level landing at the top and bottom of the ramp. Enact a policy that addresses assisting persons with disabilities in getting golf carts. Install an accessible parking space that is a minimum of 132" wide and a 60" wide access aisle connecting to an accessible route. Relocate the golf cart pick up area to another location. Add vertical access to the banquet room by installing a ramp. | 5000 | No | 3
3720 | Bottom Ramp | Yes | The ramp is bowed causing the right side of the ramp to have a 4.2% cross slope. | §405.3 | Reconstruct the ramp to have a cross slope of 2% or less. | 5000 | No | 3
1415 | Driving Range | Yes | There is not a firm, stable, and slip resistant route to the driving range. | §302.1, §305 | Construct a firm, stable, and slip resistant accessible route to an accessible driving range bay with a maximum cross slope of 2% and maximum running slope of 5%. | 5000 | No | 3
3546 | Top Ramp | Yes | The running slope of the top ramp reaches 10%. | §405.2 | Reconstruct the ramp to reduce the running slope to a maximum of 8.3%. | 5000 | No | 7
3769 | Parking | Yes | There are accessible parking spaces that do not connect to an accessible route as there is a step up to the accessible route. | §502 | Provide a curb ramp to access the clubhouse from the accessible parking space. | 10000 | No | 9
High (1-4) | 28100
Medium (5-7) | 22200
Low (8-10) | 11900
Total | 62200
Quick Fix | 3700